## Operational performance
2012
Station | Installed capacity, MW | Installed capacity, Gcal/h | Electricity output, mln kWh | Electricity busbar output, mln kWh | Heat output, thousand Gcal | Specific fuel consumption, g/kWh | Specific fuel consumption, kg/Gcal | Fuel consuption, tons
|  |  | теплофикационная |  |  |  | отч. период | electric energy | thermal energy
HPS-1 | 86 | 951 | 380.895 | 317.081 | 2026.796 | 212.7 | 161.6 | 67431 | 327475
GRES-3 | 583.1 | 408 | 174.171 | 146.975 | 641.116 | 282.8 | 177.4 | 41559 | 113723
TPP-8 | 605 | 2192 | 2278.122 | 2070.752 | 2177.899 | 300.9 | 170.8 | 623070 | 372088
TPP-9 | 210 | 560 | 1233.842 | 1116.303 | 1468.756 | 274.4 | 166.7 | 306311 | 244799
TPP-11 | 330 | 1011 | 1772.623 | 1600.233 | 2483.134 | 245.3 | 165.1 | 392526 | 410012
TPP-12 | 412 | 2043 | 2522.202 | 2268.179 | 3950.61 | 248.7 | 165.2 | 564088 | 652643
TPP-16 | 360 | 1484 | 2156.098 | 1924.262 | 3723.545 | 263.5 | 165.3 | 507088 | 615547
TPP-17 | 192 | 712 | 391.606 | 324.506 | 579.394 | 352.6 | 200.8 | 114437 | 116363
TPP-20 | 730 | 2400 | 3429.405 | 3044.692 | 4690.829 | 277.1 | 169.2 | 843759 | 793685
TPP-21 | 1790 | 4958 | 9068.286 | 8379.169 | 10749.675 | 227.6 | 163.2 | 1907481 | 1754789
TPP-22 | 1310 | 3606 | 6912.507 | 6363.404 | 8937.042 | 247.4 | 168.9 | 1574506 | 1509229
TPP-23 | 1420 | 4530 | 7242.624 | 6720.461 | 8665.321 | 249.7 | 165.3 | 1678058 | 1432238
TPP-25 | 1370 | 4088 | 7410.01 | 6912.543 | 6398.262 | 260.1 | 167.8 | 1797793 | 1073705
TPP-26 | 1840.9 | 4214 | 10298.177 | 9611.08 | 7880.544 | 250 | 167.2 | 2403033 | 1317434
TPP-27 | 1060 | 1876 | 6063.867 | 5804.041 | 3979.636 | 208.9 | 154.2 | 1212409 | 613650
Total | 12299 | 35033 | 61334.435 | 56603.681 | 68352.559 | 247.9 | 166 | 14033549 | 11347380
2012/2011 |  |  | -5.126% | -5.323% | 2.926% | -1 | -0.1 | -5.693% | 2.899%
2011
Station | Installed capacity, MW | Installed capacity, Gcal/h | Electricity output, mln kWh | Electricity busbar output, mln kWh | Heat output, thousand Gcal | Specific fuel consumption, g/kWh | Specific fuel consumption, kg/Gcal | Fuel consuption, tons
|  |  | теплофикационная |  |  |  | отч. период | electric energy | thermal energy
HPS-1 | 86 | 951 | 397.699 | 330.211 | 1944.43 | 222.8 | 162.9 | 73575 | 316727
GRES-3 | 583.1 | 408 | 188.895 | 154.561 | 606.858 | 293 | 186.2 | 45281 | 113002
TPP-8 | 605 | 2192 | 2492.383 | 2269.138 | 2116.514 | 312.3 | 171.6 | 708599 | 363167
TPP-9 | 210 | 560 | 1288.988 | 1171.354 | 1360.177 | 273.7 | 166.8 | 320583 | 226880
TPP-11 | 330 | 1011 | 1867.867 | 1693.422 | 2373.146 | 251.7 | 164.9 | 426310 | 391316
TPP-12 | 412 | 2043 | 2547.656 | 2300.783 | 3742.115 | 241.9 | 164.6 | 556599 | 615898
TPP-16 | 360 | 1484 | 2261.356 | 2019.056 | 3684.099 | 257.9 | 165.2 | 520638 | 608717
TPP-17 | 192 | 712 | 522.702 | 432.005 | 571.84 | 406.9 | 200.5 | 175803 | 114660
TPP-20 | 730 | 2400 | 3890.019 | 3481.313 | 4522.218 | 276.2 | 168.4 | 961633 | 761427
TPP-21 | 1790 | 4958 | 9190.228 | 8492.218 | 10623.859 | 229.1 | 162.4 | 1945987 | 1725077
TPP-22 | 1310 | 3606 | 8106.838 | 7492.461 | 8838.833 | 257.8 | 168.2 | 1931438 | 1486944
TPP-23 | 1420 | 4530 | 7453.887 | 6934.886 | 8177.287 | 242 | 166.2 | 1678005 | 1359417
TPP-25 | 1370 | 4088 | 8256.304 | 7736.898 | 6326.555 | 262 | 168 | 2027364 | 1063129
TPP-26 | 1840.9 | 4214 | 9543.651 | 8899.586 | 8023.725 | 243.7 | 167 | 2168472 | 1340261
TPP-27 | 1060 | 1876 | 6640.076 | 6377.945 | 3498.011 | 210.2 | 154.7 | 1340471 | 541064
Total | 12299 | 35033 | 64648.549 | 59785.837 | 66409.667 | 248.9 | 166.1 | 14880758 | 11027686

## Fuel
2012
Station | Fuel consumption, tons
| gas | coal | oil
HPS-1 | 394893 |  | 13
GRES-3 | 155035 |  | 247
TPP-8 | 972892 |  | 22266
TPP-9 | 551100 |  | 10
TPP-11 | 782304 |  | 20234
TPP-12 | 1205685 |  | 11046
TPP-16 | 1102772 |  | 19863
TPP-17 | 228012 | 1101 | 1687
TPP-20 | 1608127 |  | 29317
TPP-21 | 3629603 |  | 32667
TPP-22 | 2831153 | 250604 | 1978
TPP-23 | 3083590 |  | 26706
TPP-25 | 2826898 |  | 44600
TPP-26 | 3646277 |  | 74190
TPP-27 | 1825852 |  | 207
Total | 24844193 | 251705 | 285031
2012/2011 | -2.546% | -3.703% | 85.32%
2011
Station | Fuel consumption, tons
| gas | coal | oil
HPS-1 | 390283 |  | 19
GRES-3 | 158145 |  | 138
TPP-8 | 1059964 |  | 11802
TPP-9 | 547038 |  | 425
TPP-11 | 804597 |  | 13029
TPP-12 | 1169439 |  | 3058
TPP-16 | 1123027 |  | 6328
TPP-17 | 283109 | 6831 | 523
TPP-20 | 1714439 |  | 8621
TPP-21 | 3655548 |  | 15516
TPP-22 | 3162096 | 254554 | 1732
TPP-23 | 3014952 |  | 22470
TPP-25 | 3061433 |  | 29060
TPP-26 | 3468071 |  | 40662
TPP-27 | 1881111 |  | 424
Total | 25493252 | 261385 | 153807

## Markets
| 2011 | 2012 | 2012/2011
Electricity sales, mln kWh | 70069.6551 | 65797 | -6.098%
regulated contracts | 11350.2596 | 12012 | 5.83%
day-ahead market | 55156.1401 | 51129 | -7.301%
balancing Market | 2051.8957 | 1711 | -16.61%
free bilateral contracts | 1511.3598 | 945 | -37.47%
Electricity purchase, mln kWh | 10772.2792 | 9645 | -10.46%
day-ahead market | 7372.2612 | 6570 | -10.88%
balancing Market | 3400.0181 | 3075 | -9.559%
Capacity sales, MW | 10610.5074 | 10785 | 1.645%
regulated contracts | 3473 | 2813 | -19%
competitive selection of capacity | 7138 | 7972 | 11.68%
Capacity purchase, MW | 31 | 5 | -83.87%
Capacity tariffs on regulated contracts, roubles/MW/month | 144675 | 142281 | -1.655%
Capacity tariffs on free contracts, roubles/MW/month | 188768 | 193464 | 2.488%
contract on capacity supply | 480360 | 481842 | 0.3085%
competitive selection of capacity | 118509 | 121502 | 2.526%

## Сombined-cycle plants
| 2011 | 2012 | 2012/2011
Electricity output by combined-cycle plants, mln kWh | 9592.496 | 10066.855 | 4.945%
combined-cycle plants TPP-21 | 2471.908 | 2302.147 | -6.868%
combined-cycle plants TPP-26 | 1270.485 | 2556.495 | 101.2%
combined-cycle plants TPP-27 | 5850.103 | 5208.213 | -10.97%
Heat output by combined-cycle plants, thousand Gcal | 2484.76 | 2810.637 | 13.12%
combined-cycle plants TPP-21 | 467.52 | 467.53 | 0.002139%
combined-cycle plants TPP-26 | 83.71 | 392.216 | 368.5%
combined-cycle plants TPP-27 | 1933.53 | 1950.891 | 0.8979%
Specific fuel consumption by combined-cycle plants g/kWh, including | 217.1 | 218.5 | 0.6449%
combined-cycle plants TPP-21 | 241 | 240.5 | -0.2075%
combined-cycle plants TPP-26 | 180.2 | 208 | 15.43%
combined-cycle plants TPP-27 | 215 | 213.9 | -0.5116%
Specific fuel consumption by combined-cycle plants, kg/Gcal, including | 149 | 148.3 | -0.4698%
combined-cycle plants TPP-21 | 142.5 | 148 | 3.86%
combined-cycle plants TPP-26 | 145.5 | 145.8 | 0.2062%
combined-cycle plants TPP-27 | 150.7 | 148.8 | -1.261%
Share of combined-cycle plants in electricity output | 14.84% | 16.41%